## Sheet1
ANGLO-EASTERN GROUP | [5 empty] | File Ref : TEC(A) 37
Record of Testing Fire Detectors
[6 empty] | Prepared by | ETO
Vessel Name |  | SEAWAYS MIRAGE |  |  |  | Report Date | 2026-06-30
[6 empty] | Year | 2026
Tester Details |  | Smoke Detectors | Salwico NS-AOS |  |  | 120
|  | Flame Detectors | Salwico NS-AUV |  |  | 7
|  | Heat Detector | Salwico NS-AH |  |  | 3
Sr.No. | ID | Location | Type of Detector | Date Last tested | Date tested this month | Date Next due | Remarks
Zone
1 | MCP1 | BRIDGE (ON BCC) |  | 2026-03-09 | 2026-06-14 |  | satisfactory
2 | SCI 2 | BRIDGE |  | 2026-02-21 | 2026-05-02 |  | satisfactory
3 | S 3 | BRIDGE STBD ABOVE BCC |  | 2026-02-21 | 2026-05-02 |  | satisfactory
4 | S 4 | BRIDGE PORT ABOVE X BAND RADAR |  | 2026-02-21 | 2026-05-02 |  | satisfactory
5 | S 5 | BRIDGE AFT NEAR RADIO TABLE |  | 2026-02-21 | 2026-05-02 |  | satisfactory
Zone
6 | S 11 | C-DECK PASSAGE STBD (FRONT OF 2/O CABIN ) |  | 2026-01-07 | 2026-05-17 |  | satisfactory
7 | S 12 | C-DECK PASSAGE STBD (FRONT OF 3/O CABIN ) |  | 2026-01-07 | 2026-05-17 |  | satisfactory
8 | MCP 13 | C-DECK PASSAGE STBD (NEAR THE EXIT DOOR ) |  | 2026-03-09 | 2026-06-06 |  | satisfactory
9 | S 14 | C-DECK C/O BEDROOM |  | 2026-01-03 | 2026-05-17 |  | satisfactory
10 | S 15 | C-DECK C/O DAY ROOM |  | 2026-01-03 | 2026-05-17 |  | satisfactory
11 | S 16 | C-DECK CAPTAIN'S BEDROOM |  | 2026-01-07 | 2026-05-17 |  | satisfactory
12 | S 17 | C-DECK CAPTAIN'S DAY ROOM |  | 2026-01-07 | 2026-05-17 |  | satisfactory
13 | S 18 | C-DECK JUNIOR(3) |  | 2026-01-07 | 2026-05-17 |  | satisfactory
14 | S 19 | C-DECK PILOT |  | 2026-01-03 | 2026-05-17 |  | satisfactory
15 | S 20 | C-DECK PASSAGE PORT (FRONT OF 3/E CABIN ) |  | 2026-01-03 | 2026-05-17 |  | satisfactory
16 | S 21 | C-DECK JUNIOR(2) |  | 2026-03-09 | 2026-05-17 |  | satisfactory
17 | S 22 | C-DECK C/E BED ROOM |  | 2026-03-09 | 2026-05-17 |  | satisfactory
18 | S 23 | C-DECK C/E DAY ROOM |  | 2026-03-09 | 2026-05-17 |  | satisfactory
19 | S 24 | C-DECK 1ST ENG. BED ROOM |  | 2026-01-03 | 2026-05-17 |  | satisfactory
20 | S 25 | C-DECK 1ST ENG. DAY ROOM |  | 2026-01-03 | 2026-05-17 |  | satisfactory
21 | MCP 26 | C-DECK PASSAGE PORT (NEAR EXIT DOOR) |  | 2026-01-07 | 2026-06-06 |  | satisfactory
22 | S 27 | C-DECK PASSAGE PORT ( FRONT OF 1ST ENG DAY ROOM ) |  | 2026-03-09 | 2026-05-17 |  | satisfactory
23 | S 28 | C-DECK JUNIOR (1) |  | 2026-01-03 | 2026-05-17 |  | satisfactory
24 | S 29 | C-DECK JUNIOR (4) |  | 2026-03-09 | 2026-05-17 |  | satisfactory
25 | SC 130 | C-DECK DUCT & C/TRUNK |  | 2026-01-03 | 2026-05-17 |  | satisfactory
Zone
26 | S 41 | B-DECK PASSAGE STBD ( FRONT OF CREW 9 CABIN) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
27 | S 42 | B-DECK PASSAGE STBD ( ENTRANCE OF OFFICERS LAUNDRY) |  | 2026-01-07 | 2026-05-09 |  | satisfactory
28 | S 64 | B-DECK OFFICER'S LAUNDARY |  | 2026-01-07 | 2026-05-09 |  | satisfactory
29 | MCP 43 | B-DECK PASSAGE STBD ( NEAR EXIT DOOR) |  | 2026-03-21 | 2026-06-06 |  | satisfactory
30 | S 44 | B-DECK CREW (12) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
31 | S 45 | B-DECK CREW (11) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
32 | S 46 | B-DECK PETTY (3) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
33 | S 47 | B-DECK CREW (10) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
34 | S 48 | B-DECK CREW (9) |  | 2026-01-07 | 2026-05-09 |  | satisfactory
35 | S 49 | B-DECK CREW (8) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
36 | S 50 | B-DECK PASSAGE PORT ( FRONT CREW 7 CABIN) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
37 | S 51 | B-DECK CREW (7) |  | 2026-03-21 | 2026-05-09 |  | satisfactory
38 | S 52 | B-DECK CREW (5) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
39 | S 53 | B-DECK PETTY(2) |  | 2026-01-07 | 2026-05-09 |  | satisfactory
40 | S 54 | B-DECK CREW (5) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
41 | S 55 | B-DECK CREW (4) |  | 2026-01-03 | 2026-05-09 |  | satisfactory
42 | MCP 56 | B-DECK PASSAGE PORT ( NEAR EXIT DOOR) |  | 2026-03-21 | 2026-06-06 |  | satisfactory
43 | S 57 | B-DECK PASSAGE PORT ( FRONT CREW 5 CABIN) |  | 2026-03-21 | 2026-05-09 |  | satisfactory
44 | S 58 | B-DECK PETTY (!) |  | 2026-03-21 | 2026-05-09 |  | satisfactory
45 | SCI 59 | B-DECK DUCT & C/TRUNK |  | 2026-01-07 | 2026-05-09 |  | satisfactory
Zone
46 | S 71 | A- DECK PASSAGE CENTRE( NEAR TO ENTRANCE OF CCR ) |  | 2026-01-31 | 2026-04-18 |  | satisfactory
47 | MCP 72 | A-DECK PASSAGE STBD (NEAR TO INNER EXIT DOOR) |  | 2026-02-28 | 2026-06-06 |  | satisfactory
48 | S 73 | A- DECK OFFICER'S MESS ROOM |  | 2026-01-31 | 2026-04-18 |  | satisfactory
49 | MCP 74 | A- DECK EM'CY GEN. ROOM |  | 2026-02-28 | 2026-06-06 |  | satisfactory
50 | S 75 | A-DECK EM'CY GEN. ROOM |  | 2026-01-31 | 2026-04-18 |  | satisfactory
51 | S 76 | A-DECK PASSAGE STBD (NEAR TO ENTRANCE OF DECK OFFICE) |  | 2026-01-31 | 2026-04-18 |  | satisfactory
52 | S 77 | A-DECK OFFICER'S SMOKING ROOM |  | 2026-01-31 | 2026-04-18 |  | satisfactory
53 | S 78 | A-DECK DECK OFFICE |  | 2026-01-31 | 2026-04-18 |  | satisfactory
54 | S 79 | A-DECK CARGO CONTROL ROOM |  | 2026-01-31 | 2026-04-18 |  | satisfactory
55 | S 80 | A-DECK ENGINE OFFICE |  | 2026-01-31 | 2026-04-18 |  | satisfactory
56 | S 81 | A-DECK CREW SMOKING ROOM |  | 2026-01-31 | 2026-04-18 |  | satisfactory
57 | MCP 82 | A-DECK PASSAGE PORT( NEAR INNER EXIT DOOR) |  | 2026-02-28 | 2026-06-06 |  | satisfactory
58 | S 83 | A- DECK PASSAGE PORT |  | 2026-01-31 | 2026-04-18 |  | satisfactory
59 | S 84 | A-DECK CREW MESS ROOM |  | 2026-01-31 | 2026-04-18 |  | satisfactory
60 | MCP 85 | A-DECK GALLEY( NEXT TO GALLEY TELEPHONE) |  | 2026-01-31 | 2026-06-06 |  | satisfactory
61 | H 86 | A-DECK GALLEY(NEAR THE GALLEY HOT PLATES) |  | 2026-03-09 | 2026-04-18 |  | satisfactory
62 | SCI 87 | A-DECK DUCT & C/TRUNK |  | 2026-01-31 | 2026-04-18 |  | satisfactory
Zone
63 | S 91 | UPP-DECK AIR COND. ROOM |  | 2026-01-24 | 2026-04-04 |  | satisfactory
64 | S 65 | UPP-DECK CREW LAUNDARY |  | 2026-01-24 | 2026-04-04 |  | satisfactory
65 | S 92 | UPP-DECK GYMNASIUM |  | 2026-01-24 | 2026-04-04 |  | satisfactory
66 | MCP 93 | UPP-DECK PASSAGE STBD |  | 2026-02-28 | 2026-05-23 |  | satisfactory
67 | S 94 | UPP-DECK CREW (3) |  | 2026-01-24 | 2026-04-04 |  | satisfactory
68 | S 95 | UPP-DECK PASSAGE STBD |  | 2026-01-24 | 2026-04-04 |  | satisfactory
69 | S 96 | UPP-DECK PASSAGE CENTRE |  | 2026-01-24 | 2026-04-04 |  | satisfactory
70 | MCP 97 | UPP-DECK FIRE CONTROL STATION |  | 2026-02-28 | 2026-05-23 |  | satisfactory
71 | S 98 | UPP-DECK PASSAGE PORT |  | 2026-01-24 | 2026-04-04 |  | satisfactory
72 | S 99 | UPP-DECK CREW(2) |  | 2026-01-24 | 2026-04-04 |  | satisfactory
73 | S 100 | UPP-DECK CREW(1) |  | 2026-01-24 | 2026-04-04 |  | satisfactory
74 | MCP 101 | UPP-DECK PASSAGE PORT |  | 2026-02-28 | 2026-05-23 |  | satisfactory
75 | S 102 | UPP-DECK HOSPITAL |  | 2026-01-24 | 2026-04-04 |  | satisfactory
76 | MCP 103 | UPP-DECK LOBBY |  | 2026-02-28 | 2026-06-14 |  | satisfactory
77 | SCI 104 | UPP-DECK S/G/R ENTRANCE |  | 2026-01-24 | 2026-04-04 |  | satisfactory
Zone
78 | MCP 111 | UPP-DECK S/G/R ENTRANCE BEHIND THE DOOR |  | 2026-03-09 | 2026-05-17 |  | satisfactory
79 | S 112 | S/G/R PORT-FWD-E/CY S/G/R PANEL BOARD |  | 2026-02-21 | 2026-05-17 |  | satisfactory
80 | S 113 | S/G/R PORT-AFT-TELEPHONE SYSTEM |  | 2026-02-21 | 2026-05-17 |  | satisfactory
81 | S 114 | S/G/R STBD-AFT-CHEMICAL RACKS |  | 2026-02-21 | 2026-05-17 |  | satisfactory
82 | S 114 | S/G/R STBD-FWD-S/G/R NO.2 PANEL BOARD |  | 2026-02-21 | 2026-05-17 |  | satisfactory
83 | SCI 125 | S/G/R NEAR AUTO TRANSFORMER EM/CY S/G/R |  | 2026-02-21 | 2026-05-17 |  | satisfactory
Zone
84 | S 121 | BOSUN STORE STBD PAINT LOCKER |  | 2026-03-14 | 2026-06-27 |  | satisfactory
85 | S 122 | BOSUN STORE STBD OUTSIDE OF PAINT ROOM |  | 2026-03-14 | 2026-06-27 |  | satisfactory
86 | S 123 | BOSUN STORE PORT NEAR ESCAPE HATCH |  | 2026-03-14 | 2026-06-27 |  | satisfactory
87 | MCP 124 | BOSUN STORE CENTRE |  | 2026-03-14 | 2026-06-27 |  | satisfactory
88 | SCM 25 | BOSUN STORE STBD |  | 2026-03-14 | 2026-06-27 |  | satisfactory
Zone
89 | S 131 | STAIRWAY A-DECK |  | 2026-02-12 | 2026-04-18 |  | satisfactory
90 | S 132 | STAIRWAY B-DECK |  | 2026-02-12 | 2026-05-02 |  | satisfactory
91 | S 133 | STAIRWAY NAV-DECK |  | 2026-02-12 | 2026-05-02 |  | satisfactory
Zone
92 | S 1 | E/R 1ST DECK STBD-ACC A/C UNIT |  | 2026-01-31 | 2026-04-04 |  | satisfactory
93 | S 2 | E/R 1ST DECK E/R STORE |  | 2026-01-31 | 2026-04-04 |  | satisfactory
94 | T.C3 | E/R 1ST DECK WORK-SHOP-WASHBASIN( TIME COUNTER) |  | 2026-01-31 | 2026-04-04 |  | satisfactory
95 | S 4 | E/R 1ST DECK WORKSHOP STORE ENTRANCE |  | 2026-01-31 | 2026-04-04 |  | satisfactory
96 | H 5 | E/R 1ST DECK WORKSHOP NEAR WORKING TABLE |  | 2026-02-28 | 2026-04-26 |  | satisfactory
97 | S 6 | E/R 1ST DECK STBD AIR COMPRESSOR UNIT |  | 2026-01-31 | 2026-04-04 |  | satisfactory
98 | S 7 | E/R 1ST DECK E/R ENTRANCE ( UPP-DK ) FROM CHANGE ROOM |  | 2026-01-31 | 2026-04-04 |  | satisfactory
99 | MCP 8 | E/R 1ST DECK E/R ENTRANCE ( UPP-DK ) FROM CHANGE ROOM |  | 2026-02-28 | 2026-05-23 |  | satisfactory
100 | S 9 | E/R 1ST DECK CENTRE STERLIZER |  | 2026-01-31 | 2026-04-04 |  | satisfactory
101 | S 10 | E/R 1ST DECK PORT REFRIGERATION PLANT |  | 2026-01-31 | 2026-04-04 |  | satisfactory
102 | S 11 | E/R 1ST DECK PORT NEAR TO FWD DOOR OF ECR |  | 2026-01-31 | 2026-04-04 |  | satisfactory
103 | MCP 12 | E/R 1ST DECK ECR-DATA LOGGING PRINTER |  | 2026-02-28 | 2026-06-14 |  | satisfactory
104 | S 13 | E/R 1ST DECK ECR-FWD |  | 2026-01-31 | 2026-04-04 |  | satisfactory
105 | S 14 | E/R 1ST DECK ELECTRICAL WORKSHOP |  | 2026-01-31 | 2026-04-04 |  | satisfactory
106 | H 15 | E/R 1ST DECK ECR-BEHIND MSBD IN ECR |  | 2026-03-09 | 2026-04-26 |  | satisfactory
107 | S 16 | E/R 1ST DECK ECR-AFT COMPUTER TABLE |  | 2026-01-31 | 2026-04-04 |  | satisfactory
108 | S 17 | E/R 1ST DECK PORT-NEAR BOILER PANEL BOARD |  | 2026-01-31 | 2026-04-04 |  | satisfactory
109 | SCI 18 | E/R 1ST DECK FWD-PORT SIGNAL LIGHT COLOUMN |  | 2026-01-31 | 2026-04-04 |  | satisfactory
Zone
81 | S 21 | E/R CASING UPP-DK-NEAR BOILER LEVEL GAUGES |  | 2026-02-21 | 2026-05-02 |  | satisfactory
82 | S 22 | E/R CASING A-DECK TOP OF IGG |  | 2026-02-21 | 2026-05-02 |  | satisfactory
83 | MCP 23 | E/R CASING CASING B-DK-NEAR TO STBD EXIT DOOR. |  | 2026-03-14 | 2026-05-23 |  | satisfactory
84 | S 24 | E/R CASING B-DK-MIDDLE OF DECK |  | 2026-02-21 | 2026-05-02 |  | satisfactory
85 | S 25 | E/R CASING C-DECK EXHAUST GAS ECONOMIZER. |  | 2026-02-21 | 2026-05-02 |  | satisfactory
86 | MCP 26 | E/R CASING EXIT DOOR FROM E/R TO S/G/R. |  | 2026-03-14 | 2026-05-23 |  | satisfactory
87 | SC1 27 | E/R CASING EXIT DOOR FROM E/R TO S/G/R. |  | 2026-02-21 | 2026-05-02 |  | satisfactory
Zone
90 | S 31 | E/R 2ND DECK PORT-SEWAGE PLANT |  | 2026-02-12 | 2026-05-09 |  | satisfactory
91 | S 32 | E/R 2ND DK-STBD-A/E D/G 1 LOCAL STARTING PANEL |  | 2026-02-12 | 2026-05-09 |  | satisfactory
92 | S 33 | E/R 2ND DK-STBD-M/E L.O COOLER. |  | 2026-02-12 | 2026-05-09 |  | satisfactory
| MCP 34 | E/R 2ND DK-STBD-GAMMA OUTSTATION NO2. |  | 2026-03-09 | 2026-06-06 |  | satisfactory
| S 35 | E/R 2ND DK-STBD-F.W.L.R COOLER OR F.W.G PLANT |  | 2026-02-12 | 2026-05-09 |  | satisfactory
| S 36 | E/R 2ND DK-DECK HYDRAULIC POWER PACK ROOM |  | 2026-02-12 | 2026-05-09 |  | satisfactory
| S 37 | E/R 2ND DK-PORT-NEAR POWER PACK EL. MOTOR. |  | 2026-02-12 | 2026-05-09 |  | satisfactory
| F 3 | E/R 2ND DECK-NEAR HFO PURIFIER. |  | 2026-03-28 | 2026-04-26 |  | satisfactory
| S 41 | E/R 2ND DECK-NEAR HFO PURIFIER. |  | 2026-03-28 | 2026-04-26 |  | satisfactory
| S 38 | E/R 2ND DECK-NEAR G/E L.O PURIFIER. |  | 2026-02-12 | 2026-04-26 |  | satisfactory
| MCP 39 | E/R 2ND DK-PORT-NEAR OWS PLANT. |  | 2026-02-12 | 2026-06-06 |  | satisfactory
| SCI 40 | E/R 2ND DK-PORT-NEAR OWS PLANT. |  | 2026-02-12 | 2026-04-26 |  | satisfactory
Zone
94 | S 51 | E/R FLOOR-PORT-STEPS TO E/R FLOOR FROM 2ND DECK |  | 2026-01-24 | 2026-04-18 |  | satisfactory
95 | MCP 52 | E/R FLOOR PORT-FWD NEAR DECK WATER SEAL PUMP. |  | 2026-03-10 | 2026-06-06 |  | satisfactory
96 | S 53 | E/R FLOOR PORT-FWD BEHIND SIGNAL LIGHT COLOUMN. |  | 2026-01-24 | 2026-04-18 |  | satisfactory
97 | S 54 | E/R FLOOR-CENTER-SCRUBBER PUMP. |  | 2026-01-24 | 2026-04-18 |  | satisfactory
98 | S 55 | E/R FLOOR STBD-NEAR I.C.C.P PANEL BOARD. |  | 2026-01-24 | 2026-04-18 |  | satisfactory
99 | MCP 56 | E/R FLOOR STBD-NEAR S.W. EJECTOR PUMP. |  | 2026-03-10 | 2026-06-06 |  | satisfactory
0 | S 57 | E/R FLOOR STBD. |  | 2026-01-24 | 2026-04-18 |  | satisfactory
0 | S 58 | E/R FLOOR CENTRE-AFT M/E L.O TANK SOUNDING. |  | 2026-01-24 | 2026-04-18 |  | satisfactory
| S 59 | E/R FLOOR CENTRE-AFT BILGE TANK SOUNDING. |  | 2026-01-24 | 2026-04-18 |  | satisfactory
| MCP 60 | E/R FLOOR -PORT-NEAR DOOR OF EM'CY ESCAPE TRUNK |  | 2026-03-10 | 2026-06-06 |  | satisfactory
Zone
0 | F 1 | CASING A-DECK NEAR I.G.G UPPER UNIT. |  | 2026-02-01 | 2026-05-02 |  | satisfactory
0 | S 2 | CASING A-DECK NEAR I.G.G UPPER UNIT. |  | 2026-02-01 | 2026-05-02 |  | satisfactory
0 | SCI 3 | CASING A-DECK NEAR I.G.G UPPER UNIT. |  | 2026-02-01 | 2026-05-02 |  | satisfactory
Zone
0 | F 11 | E/R 1ST DK-AUX BOILER |  | 2026-03-21 | 2026-05-23 |  | satisfactory
0 | S 12 | E/R 1ST DK-AUX BOILER |  | 2026-03-21 | 2026-05-23 |  | satisfactory
0 | SCI 13 | E/R 1ST-DK-AUX BOILER BEHIND BOILER BULKHEAD. |  | 2026-02-12 | 2026-05-23 |  | satisfactory
| F 14 | E/R 1ST -DK INCINERATOR |  | 2026-03-21 | 2026-05-23 |  | satisfactory
| S 15 | E/R 1ST -DK INCINERATOR |  | 2026-03-21 | 2026-05-23 |  | satisfactory
| SCI 16 | E/R 1ST -DK INCINERATOR |  | 2026-02-12 | 2026-05-23 |  | satisfactory
| S 17 | E/R 1ST-DK-MAIN ENGINE. |  | 2026-03-21 | 2026-05-23 |  | satisfactory
0 | F 18 | E/R 1ST-DK-MAIN ENGINE. |  | 2026-01-31 | 2026-05-23 |  | satisfactory
0 | S 19 | E/R 1ST-DK-MAIN ENGINE. |  | 2026-01-31 | 2026-05-23 |  | satisfactory
0 | SCI 20 | E/R 1ST-DK-MAIN ENGINE. |  | 2026-02-12 | 2026-05-23 |  | satisfactory
Zone
0 | F 31 | E/R 2ND -DK BETWEEN GENERATOR D/G1 AND D/G2. |  | 2026-02-12 | 2026-06-20 |  | satisfactory
0 | S 32 | E/R 2ND -DK BETWEEN GENERATOR D/G1 AND D/G2. |  | 2026-02-12 | 2026-06-20 |  | satisfactory
0 | F 33 | E/R 2ND -DK GENERATOR D/G 3 |  | 2026-02-12 | 2026-06-20 |  | satisfactory
0 | S 34 | E/R 2ND -DK GENERATOR D/G 3 |  | 2026-02-12 | 2026-06-20 |  | satisfactory
Zone
0 | S136 | BWTS room smoke | 0 | 2026-03-14 | 2026-06-27 |  | satisfactory
0 | MCP | BWTS ROOM MANUAL CALL | 0 | 2026-03-14 | 2026-06-27 |  | satisfactory
0 | 0
Note:- (1) In the First month all the fire detectors and manual call points are tested.
Note:- (1) All the fire detectors and manual call points are tested in such a schedule that all are covered in 3 months .

## Sheet3
ANGLO-EASTERN GROUP | [5 empty] | File Ref : TEC(A) 37
Record of Testing Fire Detectors
[6 empty] | Prepared by | ETO
Vessel Name |  | Seaways Mirage |  |  |  | Report Date | 2026-01-24
[6 empty] | Year | 2026
Tester Details |  | Smoke Detectors | BATTERY OPERATED |  |  | 3
|  | Flame Detectors |  |  |  | 0
|  | Heat Detector |  |  |  | 0
Sr.No. | ID | Location | Type of Detector | Date Last tested | Date tested this month | Date Next due | Remarks
Zone
1 |  | Battery charger Room |  | 2025-10-18 | 2026-01-24 | 2026-04-23
2 |  | PROVISION LOBBY |  | 2025-10-18 | 2026-01-24 | 2026-04-23
3 |  | Fire locker Behind bridge |  | 2025-10-18 | 2026-01-24 | 2026-04-23
4
5
Note:- (1) In the First month all the fire detectors and manual call points are tested.
Note:- (1) All the fire detectors and manual call points are tested in such a schedule that all are covered in 3 months .